## OshKosh Locations by TAP
Region | Institution | Director | Number of Plants | States
Southeast | NCSU | Isaac Panzarella | 6 | 3-FL, 1-SC, 2-TN
Midwest | University of Illinois at Chicago | Cliff Haefke | 12 | 11-WI, 1-MN
Central | University of Illinois at Chicago | Cliff Haefke | 2 | 2-IA
Mid-Atlantic | Pennsylvania State University | Jim Freihaut | 5 | 5-PA
Upper-West | Cascade Energy, Inc. | Doug Heredos | 1 | 1-UT
Northwest | Washington State University | David Van Holde | 1 | 1-OR

## OshKosh Data
Kinect Facility Designation | Oshkosh Segment | Oshkosh Facility Name | Site Address | City | State | Site Contact | Facility square footage | Facililty Land area (acres) | Operating Shifts | Annual Electricity, KWH | Annual electricity Peak, KW | Annual electricity cost | Fuel Type | Fuel Usage | Annual Fuel usage (MMBTU) | Annual Fuel Cost | Notes | Process Gas Estimate % (example: 25 means 25% is for processes and 75% for HVAC) | Cooling Load? | Cooling Load Estimate, KWH/month for July/Aug | Additional Notes | Details on shifts | $/kWh | $/MMBtu | Average Elec Load | Cooling Load Annual Ton-Hr | Cooling Load Fraction | Addressable Fuel Load MMBtu | Avg Addressable Fuel Load MMBtu/hr | Net Metering Limit | Site Number | CHP Size | PV Size | Wind Size | Heat Pump Annual Savings | Eval | Done? | Avg Addressable Fuel Load kWt | cents/kWh
JLG - MCCONNELLSBURG PA | Access | JLG - McConnellsburg | 1 J L G Drive | McConnellsburg | PA | Jason Grentus | 525000 | 96.25 | 3 | 18212851.493 | 4027.5 | 1425948.4823 | Nat Gas | Bldg heat, paint ovens | 131866.1125 | 971213.2535 |  | 29 | Offices attached to large manufacturing complex | 63278.9228 |  | 3 shifts M-F with Sat 1st shift | 0.078294 | 7.3651 | 2079.0926 | 196032.3946 | 0.013898 | 93624.9399 | 10.6878 | 3000 | 1 | 2192.6861 | 3000 | 2806.5886 | -568026.6094 | FALSE | Done | 3132.4087 | 7.8294
PMI - ASY AMERICAN DRIVE | Vocational | Pierce -Assembly | 2600 American Dr | Appleton | WI | Maggie Fischer | 479139 | 43.7 | 2 | 11428742.6 | 2154 | 1234444.6 | Nat Gas | Bldg heat, paint ovens | 94818.77 | 461473.59 | Existing solar on roof of new building (portion of 115,000 sqr ft bldg) | 11 | Offices attached to large manufacturing complex | 78478.284 | Existing solar on roof of new building (portion of 115,000 sqr ft bldg) | 10 hours shifts M-Th 4-2, 2-12. 3rd shift 10-8 Paint. Paint runs continous through weekend. Friday is overtime | 0.10801 | 4.8669 | 1304.651 | 243118.6445 | 0.027467 | 84388.7053 | 9.6334 | 0 | 2 | 1976.3745 | 2874.834 | 1090.0161 | -492376.4924 | TRUE | Done | 2823.3921 | 10.8012
PMI - IPP MCCARTHY ROAD | Vocational | Piere - Industrial Park Plant | 3100 N McCarthy Rd | Appleton | WI | Maggie Fischer | 385400 | 48.1 | 2 | 6277299.69 | 2334 | 733657.91 | Nat Gas | Bldg heat, paint ovens | 36252.53 | 169291.44 |  | 12 | Offices attached to large manufacturing complex | 0 | Electric load higher in winter than summer. Infrared heater use? | 10 hours shifts M-Th 4-2, 2-12. 3rd shift 10-8 Paint. Paint runs continous through weekend. Friday is overtime | 0.11687 | 4.6698 | 716.5867 | 0 | 0 | 31902.2264 | 3.6418 | 0 | 3 | 747.1467 | 2312.4 | 1308.4144 | -292954.8563 | FALSE | Done | 1067.3525 | 11.6875
DEF - JEFFERSON CITY | Access | Jefferson City | 1400 Flat Gap Road | Jefferson City | TN | Jason Grentus | 486656 | 63.3 | 2 | 11848853.3333 |  | 842228.7397 | Nat Gas | Bldg heat, paint ovens | 1770.0212 | 30068.5964 | Facility is currently moving from Defense facility that primarily did fabrication of cabs and parts to Access facility that will manufacture telehandlers. Facility is air conditioned - electrical consumption nearly doubled when AC was installed. | 0 | Entire manufacturing facility is air conditioned | 589459.3848 | Facility is currently moving from Defense facility that primarily did fabrication of cabs and parts to Access facility that will manufacture telehandlers. Facility is air conditioned - electrical consumption nearly doubled when AC was installed. Facility had no paint ovens but they are being installed as part of conversion. | With facility changing, cannot say at this time | 0.071081 | 16.9877 | 1352.6088 | 1826091.9995 | 0.19899 | 1770.0212 | 0.20206 | 0 | 4 | 41.4537 | 2919.936 | 1737.5972 | -336788.9018 | FALSE | Done | 59.2196 | 7.1081
MTM - DODGE CENTER MN | Vocational | McNeilus - Dodge Center | County Road 34 East | Dodge Center | MN | Matt Gregory | 710899 | 151.1 | 2 | 11553668.2993 | 4225.65 | 1510401.8181 | Nat Gas | Bldg heat, paint ovens | 129153.2036 | 1073601.6581 |  | 11 | Offices attached to large manufacturing complex | 0 | Electric load higher in winter than summer. Infrared heater use? | 2 shifts M-F, 1 shift that works F night and then 1 on Sat and Sun | 0.13073 | 8.3126 | 1318.9119 | 0 | 0 | 114946.3512 | 13.1217 | 0 | 5 | 2692.0313 | 4265.394 | 3768.3197 | -600900.5425 | FALSE | Done | 3845.759 | 13.0729
DEF - SOUTH PLANT/ECOAT | Defense | Defense - South Plant-ECoat | 333 W 29th Ave | Oshkosh | WI | Sue Murawski | 486000 | 81.26 | 2 | 11025473.6663 | 2140 | 926157.1195 | Nat Gas | Bldg heat, paint ovens, ecoat process | 164207.631 | 714293.5319 | Site Shared with West Plant | 25 | Offices attached to large manufacturing complex | 31736.6536 | Site Shared with West Plant | 2 shifts M-F, second shift is smaller crew | 0.084002 | 4.3499 | 1258.6157 | 98317.2899 | 0.011514 | 123155.7232 | 14.0589 | 0 | 6 | 2884.2939 | 2916 | 2336.7658 | -368634.9706 | FALSE | Done | 4120.4198 | 8.4002
DEF - SPARTANBURG | Defense | Spartanburg - NGDV Faciltiy | 789 Flatwood Ind Dr | Spartanburg | SC | Sue Murawski | 930000 | 96.9 | 3 | 6672237.6618 | 3555.6 | 781639.9387 | Nat Gas | Bldg heat, paint ovens, ecoat process | 13344.6148 | 123632.1277 | Facility still in ramp up phase. Electric and gas usage will increase significantly in 24-25 | 0 | Entire manufacturing facility is air conditioned | 282983.1797 | Facility still in ramp up phase. Electric and gas usage will increase significantly in 24-25. | WIll be changing as facility begins production. Expect 3 shifts M-F when in full production | 0.11715 | 9.2646 | 761.671 | 876656.3631 | 0.16965 | 13344.6148 | 1.5234 | 0 | 7 | 312.5295 | 4480.4174 | 2176.2028 | -312234.1426 | FALSE | Done | 446.4706 | 11.7148
DEF - NORTH PLANT | Defense | Defense - North Plant | 2307 Oregon St | Oshkosh | WI | Sue Murawski | 249000 | 14.4 | 2 | 4934117 | 1236 | 522428.2992 | Nat Gas | Bldg heat, paint ovens | 17067.5669 | 101490.8986 |  | 0 | Offices attached to manufacturing complex | 31736.6536 | No significant proccesses that use gas | 2 shifts M-F, second shift is much smaller crew | 0.10588 | 5.9464 | 563.2554 | 98317.2899 | 0.025728 | 17067.5669 | 1.9484 | 0 | 8 | 399.7206 | 1494 | 289.4582 | -208625.0327 | FALSE | Done | 571.0294 | 10.5881
PFD- BRADENTON FL | Vocational | Pierce - Bradenton | 1512 38th Ave E | Bradenton | FL | Maggie Fischer | 300334 | 32.9 | 2 | 4847935.5258 | 1206 | 508516.3282 | Nat Gas | Bldg heat, paint ovens | 8567.8205 | 60303.5472 |  | 40 | Offices attached to manufacturing complex | 135175.2815 |  |  | 0.10489 | 7.0384 | 553.4173 | 418760.8281 | 0.11153 | 5140.6923 | 0.58684 | 2000 | 9 | 120.3945 | 1802.004 | 866.8427 | -203283.0779 | FALSE | Done | 171.9921 | 10.4893
DEF - HARRISON STREET | Defense | Defense - Harrison | 2737 Harrison Street | Oshkosh | WI | Sue Murawski | 302000 | 35.7 | 2 | 3879818.3398 | 1229 | 385419.4059 | Nat Gas | Bldg heat, paint ovens | 28363.4484 | 139842.8197 |  | 4 | Offices attached to large manufacturing complex | 3513.7644 | Only 1 paint oven. | 2 shifts M-F, second shift is smaller crew | 0.09934 | 4.9304 | 442.9016 | 10885.3252 | 0.0036226 | 27228.9105 | 3.1083 | 0 | 10 | 637.6982 | 1812 | 958.9011 | -153709.7044 | FALSE | Done | 910.9974 | 9.934
JLG - SHIPPENSBURG PA | Access | JLG - Shippensburg | 560 Walnut Bottom Road | Shippensburg | PA | Jason Grentus | 320000 | 42.92 | 3 | 3222303.0747 | 547 | 276848.4587 | Nat Gas | Bldg heat, paint ovens | 7591.877 | 103018.02 |  | 0 | Offices attached to manufacturing complex | 71558.1249 | Only 1 touch up paint oven | 2 shifts M-F, weekends as needed typically at least one shift on Sat | 0.085916 | 13.5695 | 367.8428 | 221680.6159 | 0.088829 | 7591.877 | 0.86665 | 3000 | 11 | 177.8009 | 1920 | 1050.9795 | -110387.886 | FALSE | Cooling too high | 254.0014 | 8.5916
IMT - GARNER IA | Vocational | IMT (Iowa Mold Tooling) | 500 West US Highway 18 | Garner | IA | Matt Gregory | 262000 | 20.6 | 2 | 3170869.0968 | 1517 | 335488.0457 | Nat Gas | Bldg heat, paint ovens | 32011.1588 | 262482.42 |  | 6 | Offices attached to manufacturing complex | 0 | Electric load higher in winter than summer. Infrared heater use? | 2 Shifts M-F | 0.1058 | 8.1997 | 361.9714 | 0 | 0 | 30090.4893 | 3.435 | 1000 | 12 | 704.716 | 1000 | 486.1769 | -133353.3637 | FALSE | Done | 1006.7372 | 10.5803
KFI - KEWAUNEE FABRICATIONS | Vocational | Kewaunee Fabrications | 520 N Main St | Kewaunee | WI | Maggie Fischer | 216000 | 0 | 2 | 3144499.9624 | 1692 | 359264.5255 | Nat Gas | Bldg heat, paint ovens | 40710.3864 | 190570.3331 |  | 10 | Offices attached to manufacturing complex | 233.6623 |  | M-F 3 shifts, Sat 2 shorter shifts | 0.11425 | 4.6811 | 358.9612 | 723.8648 | 0.00029723 | 36639.3478 | 4.1826 | 0 | 13 | 858.0896 | 1296 | -165.2893 | -143120.6068 | FALSE | Done | 1225.8423 | 11.4252
JLG - BEDFORD PA WEBER LANE | Access | JLG - Weber Lane | 441 Weber Lane | Bedford | PA | Jason Grentus | 83000 | 8.6 | 3 | 3069120.3074 | 700 | 291462.0659 | Nat Gas | Bldg heat, paint ovens | 26046.5364 | 185978.81 |  | 16 | Offices attached to manufacturing complex | 18139.9017 |  | 3 shifts M-F with Sat 1st shift | 0.094966 | 7.1403 | 350.3562 | 56195.779 | 0.023642 | 21879.0906 | 2.4976 | 3000 | 14 | 512.406 | 498 | 223.1527 | -116051.7962 | FALSE | Done | 732.0085 | 9.4966
JLG - GREENCASTLE PA HYKES ROAD | Access | JLG - Hykes Road | 1080 Hykes Road | Greencastle | PA | Jason Grentus | 110000 | 15.4 | 3 | 2851912.069 | 656 | 242384.9408 | Propane | Bldg heat, paint ovens | 17600.2567 | 331200.61 |  | 0 | Offices attached to manufacturing complex | 50034.6236 |  | 2 shifts M-F with occasional Sat | 0.08499 | 18.8179 | 325.5607 | 155002.7505 | 0.070177 | 17600.2567 | 2.0092 | 3000 | 15 | 412.1961 | 660 | 429.1582 | -95823.9198 | FALSE | TBD | 588.8516 | 8.499
OSK -MENASHA DATA CENTER | Corporate | Menasha Data Center | 1425 University Drive | Menasha | WI | Scott Obremski | 11684 | 4.5 | 3 | 2412555.8387 | 503 | 200817.9148 | None | NA | 1 | 20 |  | 0 | Data center with attached offices | 45832.204 | No gas at facility. Electric heat. Data Center | Small office area occupied M-F, 1 shift. Data center runs 24-7 | 0.083239 | 20 | 275.4059 | 141984.0336 | 0.075989 | 1 | 0.00011416 | 0 | 16 | 0.02342 | 70.104 | 141.0591 | -80327.0977 | FALSE | TBD | 0.033457 | 8.3239
MTM - RICEVILLE IA | Vocational | Iowa Contract Fabricators | 12150 Addison Ave | Riceville | IA | Matt Gregory | 108000 | 21.5 | 2 | 2210909.0909 | 579 | 257103.2012 | Propane | Bldg heat, paint ovens | 19627.8652 | 321118.34 |  | 0 | Offices attached to manufacturing complex | 18057.4148 |  | 1 shift M-Thurs with F as needed | 0.11629 | 16.3603 | 252.3869 | 55940.2423 | 0.03267 | 19627.8652 | 2.2406 | 1000 | 17 | 459.6825 | 648 | 634.022 | -101745.6247 | FALSE | TBD | 656.6893 | 11.6288
OSK - GHQ | Corporate | Global Headquarters | 1917 4-Wheel Drive | Oshkosh | WI | Scott Obremski | 191000 | 32.8 | 3 | 2172835.0909 | 623 | 231136.51 | Nat Gas | Bldg Heat | 10976.8864 | 67059.8354 |  | 0 | Large office building | 126494.1156 | Office Building | M-F, typically occupied from 6:30-5 with varying levels | 0.10638 | 6.1092 | 248.0405 | 391867.3593 | 0.23286 | 10976.8864 | 1.2531 | 0 | 18 | 257.0775 | 1146 | 708.6872 | -92225.7958 | FALSE | TBD | 367.2536 | 10.6376
DEF - WEST PLANT | Defense | Defense - West Plant | 500 W Waukau Ave | Oshkosh | WI | Sue Murawski | 66500 | 81.26 | 2 | 2132806.0534 | 568 | 227279.1988 | Nat Gas | Bldg heat, paint ovens | 31341.8532 | 148312.7481 | Site shared with South/ECoat | 9 | Offices attached to manufacturing complex | 0 | Site shared with South/ECoat. Electric load higher in winter than summer. | 2 shifts M-F, second shift is much smaller crew | 0.10656 | 4.7321 | 243.471 | 0 | 0 | 28521.0864 | 3.2558 | 0 | 19 | 667.9608 | 399 | 695.6315 | -90451.1803 | FALSE | TBD | 954.2297 | 10.6563
JLG - BEDFORD PA SUNNYSIDE RD | Access | JLG - Sunnyside | 450 Sunnyside Road | Bedford | PA | Jason Grentus | 133000 | 14.2 | 2 | 1992444.5152 | 419 | 187020.2458 | Nat Gas | Bldg heat, paint ovens | 11673.509 | 91811.24 |  | 0 | Offices attached to manufacturing complex | 10674.1984 | No significant proccesses that use gas | 2 shifts M-F with occasional Sat | 0.093865 | 7.8649 | 227.448 | 33067.7037 | 0.021429 | 11673.509 | 1.3326 | 3000 | 20 | 273.3923 | 798 | 371.558 | -74494.8383 | FALSE | TBD | 390.5605 | 9.3865
OSK - OSHKOSH DATA CENTER | Corporate | Oshkosh Data Center | 2948 Bradley Street | Oshkosh | WI | Scott Obremski | 8078 | 0.76 | 3 | 1722688.4441 | 238 | 153533.0034 | Nat Gas | Bldg Heat | 113.9831 | 1144.9752 |  | 0 | Data center with attached offices | 21435.1996 | Data center. | Very small office area occupied M-F, 1 shift. Data center runs 24-7 | 0.089124 | 10.0451 | 196.6539 | 66404.3146 | 0.049772 | 113.9831 | 0.013012 | 0 | 21 | 2.6695 | 48.468 | 19.1518 | -61409.2947 | FALSE | TBD | 3.8135 | 8.9124
PMI - NEENAH WI | Vocational | Pierce - Neenah | 1515 Cty Rd. O | Neenah | WI | Maggie Fischer | 115000 | 9.8 | 2 | 1436221.7472 | 746 | 205359.5582 | Nat Gas | Bldg Heat | 11205.6876 | 73902.5252 |  | 10 | Offices attached to manufacturing complex | 16015.1133 |  | 10 hours shifts M-Th 4-2, 2-12. 3rd shift 10-8 Paint. Paint runs continous through weekend. Friday is overtime | 0.14299 | 6.5951 | 163.9523 | 49613.3764 | 0.044603 | 10085.1189 | 1.1513 | 0 | 22 | 236.1924 | 690 | 238.6654 | -81916.8834 | FALSE | TBD | 337.4177 | 14.2986
FLC - FRONTLINE COMM | Vocational | Fronline Communications | 12770 44th Street North | Clearwater | FL | Maggie Fischer | 108000 | 6.8 | 2 | 694235 | 264 | 110754 | Nat Gas | Bldg heat, paint ovens | 522 | 4930 |  | 25 | Offices attached to manufacturing complex | 14485.8801 |  |  | 0.15953 | 9.4444 | 79.2506 | 44875.9498 | 0.083464 | 391.5 | 0.044692 | 2000 | 23 | 9.1689 | 466.1798 | 144.022 | -44288.9841 | FALSE | TBD | 13.0984 | 15.9534
NA | Vocational | Aerotech - Ground Support Equipment | 7300 Presidents Drive | Orlando | FL | Mark Sleigh | 239260 | 29.2 | 2 | 4451643.53 | Not Available | 480236.46 | Nat Gas | Bldg heat, paint ovens | 1972.5 | 22021.46 | 2022 Data; Propane: 1,309 MMBTU, $20,400 | 100 | Offices attached to large manufacturing complex | 363025 | 2022 Data; Propane: 1,309 MMBTU, $20,400 | Waiting for response | 0.10788 | 11.1642 | 508.1785 | 1124618.7019 | 0.32619 | 0 | 0 | 2000 | 24 | 0 | 1435.56 | 790.2449 | -192094.584 | FALSE | TBD | 0 | 10.7878
NA | Vocational | Aerotech - Jetway Systems | 3100 Pennsylvania Avenue | Ogden | UT | Mark Sleigh | 236874 | 24.2 | 2 | 3815485.79 | Not Available | 320641.79 | Nat Gas | Bldg heat, paint ovens | 46993.2 | 49507.36 | 2022 Data; Propane: 1,190 MMBTU, $26,988 | 10 | Offices attached to large manufacturing complex | 0 | 2022 Data; Propane: 1,190 MMBTU, $26,988 Winter electricity usage slightly higher than summer. | Waiting for response | 0.084037 | 1.0535 | 435.5577 | 0 | 0 | 42293.88 | 4.8281 | 2000 | 25 | 990.5182 | 1421.244 | 625.404 | -128104.6888 | FALSE | TBD | 1415.0259 | 8.4037
NA | Vocational | Aerotech - Lektro | 1190 Flightline Drive | Warrenton | OR | Mark Sleigh | 93750 | 3.9 | 2 | 609681.82 | Not Available | 72575.85 | Nat Gas | Bldg heat, paint ovens | 3699.7 | 41073.25 | 2022 Data | 30% | Offices attached to manufacturing complex | 0 | 2022 Data. Winter electricity usage 15% higher than summer. | Waiting for response | 0.11904 | 11.1018 | 69.5984 | 0 | 0 | 3688.6009 | 0.42107 | 2000 | 26 | 86.3866 | 409.4022 | 58.2599 | -28890.6185 | FALSE | TBD | 123.4095 | 11.9039
MTM – MURFREESBORO TN | Vocational | Murfreesboro | 2120 Logistics Way | Murfreesboro | TN | Matt Gregory | 844480 | 49.1 | 3 | 559000 | 396 | 78014.87 | Nat Gas | Bldg Heat | 1576.1 | 12260.88 | Facility is being developed and is not producing any product yet. Utility data is for facility not operating as manufacturing location. Electricity is Mar-Dec 23 | 0 | Entire manufacturing facility will be air conditioned | 0 | Facility is being developed and is not producing any product yet. Utility data is for facility not operating as manufacturing location. Electricity is Mar-Dec 23 | NA | 0.13956 | 7.7793 | 63.8128 | 0 | 0 | 1576.1 | 0.17992 | 0 | 27 | 36.9121 | 375.3693 | 182.3222 | -31164.1139 | FALSE | TBD | 52.7316 | 13.9561
Note on S1: Estimate made using Jan-Feb gas vs July-Aug gas for last 3 years
Note on U1: Estimate made using July-Aug electric vs Jan-Feb for last 3 years
Note on S25: Estimate made using only 1 year of data
Note on U25: Estimate made using only 1 year of data
Note on S26: Estimate made using only 1 year of data
Note on U26: Estimate made using only 1 year of data
Note on S27: Estimate made using only 1 year of data
Note on U27: Estimate made using only 1 year of data

## Additional Data Info
From Oshkosh:
1. Shifts: I added information from the segments on shifts. Note that this is variable and changes with product demand, production schedules, time of year etc. Also, several facilities are transitioning from one segment/product to another. The data presented is best available at this time, but is always subject to change.
2. Natural gas: I estimated process vs HVAC by comparing usage in Jan-Feb to July-Aug. The summer months were assumed to be all process and the winter months to include HVAC. I used 3 years of data for all of the sites that it was available for. I only had one year for the 3 Aerotech sites.
3. Cooling load: I estimated using a similar method as gas, but compared summer electrical usage to winter. The extra electric usage in summer was assumed to be cooling load. Note that for several facilities the winter electric load was higher than the summer. This is noted in the comments column. In some cases this may be due to electric heating.
4. I also update descriptions of the facilities to try to provide some information on office vs production space. Note that the Jefferson City, Spartanburg and new Murfreesboro sites have or will have air conditioning in the entire facility including the manufacturing space. When this was added to Jefferson City it nearly doubled their electrical consumption.

## State NEM Policies
Brian or Justin | State | NEM Cap (kW) | Credit Rate | Netting Period | Solar Charges | Standby Charges | Third Party Ownership | Leasing | State NEM Rules (Link if applicable) | Kinect Facility Designation | Oshkosh Segment | Oshkosh Facility Name | Site Address | City | State | Utility | Operating Shifts | Annual Electricity, KWH | Annual electricity Peak, KW | Annual electricity cost | Notes
J | FL | 2 MW | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually at the avoided cost rate. | N/A | SST-1: Base Demand Charge - $595.49/month (2,000 kW>, below 69 kV) Transmission - $2,525.25/month (69 kV and above) ISST-1 (Interruptible): Base Charge - $681.10/month Transmission - $2,785.82/month (69 kV and above) Tariff Sheet Link (pgs. 118-126): https://www.fpl.com/content/dam/fplgp/us/en/rates/pdf/electric-tariff-section8.pdf | Not allowed, except for leasing | Allowed | Yes | PFD- BRADENTON FL | Vocational | Pierce - Bradenton | 1512 38th Ave E | Bradenton | FL | Florida Power & Light | 2-3 | 4847935.5258 | 1206 | 508516.3282
J | FL | 2 MW | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually at the avoided cost rate. | N/A | SS-1 (Firm): Primary Metering Voltage - $335.69/month Secondary Metering Voltage - $143.46/month Transmission - $1,156.59/month *If the customer has paid the costs of metering equipment pursuant to a Cogeneration Agreement, the customer charge is $115.66. SS-2 (Interruptible): Primary Metering Voltage - $522.96/month Secondary Metering Voltage - $362.08/month Transmission - $1,209.99/month *If the customer has paid the costs of metering equipment pursuant to a Cogeneration Agreement, the customer charge is $338.79. SS-3 (Curtailable): Primary Metering Voltage - $280.95/month Secondary Metering Voltage - $120.08/month Transmission - $968.00/month *If the customer has paid the costs of metering equipment pursuant to a Cogeneration Agreement, the customer charge is $96.80. Tariffs: https://www.duke-energy.com/home/billing/rates/index-of-rate-schedules | Not allowed, except for leasing | Allowed | Yes | FLC - FRONTLINE COMM | Vocational | Fronline Communications | 12770 44th Street North | Clearwater | FL | Duke Energy | 2 | 694235 | 264 | 110754
J | FL | 2 MW | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually at the avoided cost rate. | N/A | SS-1 (Firm): Primary Metering Voltage - $335.69/month Secondary Metering Voltage - $143.46/month Transmission - $1,156.59/month *If the customer has paid the costs of metering equipment pursuant to a Cogeneration Agreement, the customer charge is $115.66. SS-2 (Interruptible): Primary Metering Voltage - $522.96/month Secondary Metering Voltage - $362.08/month Transmission - $1,209.99/month *If the customer has paid the costs of metering equipment pursuant to a Cogeneration Agreement, the customer charge is $338.79. SS-3 (Curtailable): Primary Metering Voltage - $280.95/month Secondary Metering Voltage - $120.08/month Transmission - $968.00/month *If the customer has paid the costs of metering equipment pursuant to a Cogeneration Agreement, the customer charge is $96.80. Tariffs: https://www.duke-energy.com/home/billing/rates/index-of-rate-schedules | Not allowed, except for leasing | Allowed | Yes | NA | Vocational | Aerotech - Ground Support Equipment | 7300 Presidents Drive | Orlando | FL | Duke Energy | 2 | 4451643.53 | Not Available | 480236.46 | 2022 Data; Propane: 1,309 MMBTU, $20,400
J | IA | Lesser of 110% of load or 1 MW | Retail Rate | 15-minute net billing intervals; excess outflow credits are carried forward until the end of the year | N/A | Standby Power Service (Rate Code: 790/840): Primary Distribution - $85/month Secondary Distribution - $245/month Transmission - $550/month Firm/Non-Firm: Primary Distribution - $0.36/kW per month Secondary Distribution - $0.37/kW per month Transmission - $0.35/kW per month Tariff: https://www.alliantenergy.com/-/media/alliant/documents/accountandbilling/ratesandtariffs/iowaelectricrates/standbyservice.pdf?la=en&hash=E2467932DEB27F6622ECE1C2A7C70406 | Allowed | Allowed | Yes | IMT - GARNER IA | Vocational | IMT (Iowa Mold Tooling) | 500 West US Highway 18 | Garner | IA | Interstate Power & Light | 2 | 3170869.0968 | 1517 | 335488.0457
J | IA | Lesser of 110% of load or 1 MW | Retail Rate | 15-minute net billing intervals; excess outflow credits are carried forward until the end of the year | N/A | Standby Power Service (Rate Code: 790/840): Primary Distribution - $85/month Secondary Distribution - $245/month Transmission - $550/month Firm/Non-Firm: Primary Distribution - $0.36/kW per month Secondary Distribution - $0.37/kW per month Transmission - $0.35/kW per month Tariff: https://www.alliantenergy.com/-/media/alliant/documents/accountandbilling/ratesandtariffs/iowaelectricrates/standbyservice.pdf?la=en&hash=E2467932DEB27F6622ECE1C2A7C70406 | Allowed | Allowed | Yes | MTM - RICEVILLE IA | Vocational | Iowa Contract Fabricators | 12150 Addison Ave | Riceville | IA | Interstate Power & Light | 2 | 2210909.0909 | 579 | 257103.2012
B | MN | 1 MW | Monthly NEG Credited at Avoided Cost Rate | Monthly | N/A | Standby Service Rider (Rate Code 5-101) Fixed Charge: $25.98 Secondary Voltage Service, Non-Firm Standby: $3.35/kW per month Primary Voltage Service, Non-Firm Standby: $2.65/kW per month Transmission Transformed Voltage Service, Non-Firm Standby: $1.00/kW per month Tariff: https://www.xcelenergy.com/staticfiles/xe-responsive/Company/Rates%20&%20Regulations/Me_Section_5.pdf#page=169 | Unknown | Unknown | Yes | MTM - DODGE CENTER MN | Vocational | McNeilus - Dodge Center | County Road 34 East | Dodge Center | MN | Xcel Energy | 2-3 | 11553668.2993 | 4225.65 | 1510401.8181
B | OR | 2 MW | Retail Rate | Monthly | N/A | Large General Service Partial Requirements 1,000 kW and Over (Schedule 47) Reserves Charges: $0.27/kW https://www.pacificpower.net/content/dam/pcorp/documents/en/pacificpower/rates-regulation/oregon/tariffs/rates/047_Large_General_Service_Partial_Requirements_1_000_KW_and_Over_Delivery_Service.pdf | Yes | Yes | Yes | NA | Vocational | Aerotech - Lektro | 1190 Flightline Drive | Warrenton | OR |  | 2 | 609681.82 | Not Available | 72575.85 | 2022 Data
J | PA | 3 MW (Non-Residential); 5 MW (Microgrids and Emergency Systems) | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually | Solar PV Requirements Charge Rider: 0.008 cents/kWh | Partial Service Rider: Admin Fee - $86.43 (Both) Backup Demand ($/kW): Primary Voltage - $2.60 Secondary Voltage - $5.01 Transmission Voltage - $0.28 Maintenance Demand ($/kW): Primary Voltage - $2.08 Secondary Voltage - $4.01 Transmission Voltage - $0.28 Tariff (pgs. 223-227): https://www.firstenergycorp.com/content/dam/customer/Customer%20Choice/Files/PA/tariffs/FEPA-Retail-Tariff.pdf Partial Service Rider is for on-site equipment that does not qualify for the Net Metering Rider; NM Rider is found on pgs. 187-191. and is eligible for Tier I and II systems under PA's Alternative Energy Portfolio Standard (found here: https://programs.dsireusa.org/system/program/detail/262#:~:text=Eligible%20technologies,sources%20by%20May%2031%2C%202021.) | Allowed | Allowed | Yes | JLG - MCCONNELLSBURG PA | Access | JLG - McConnellsburg | 1 J L G Drive | McConnellsburg | PA | Pennsylvania Electric Co. | 3 | 18212851.493 | 4027.5 | 1425948.4823
J | PA | 3 MW (Non-Residential); 5 MW (Microgrids and Emergency Systems) | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually | Solar PV Requirements Charge Rider: 0.008 cents/kWh | Partial Service Rider: Admin Fee - $86.43 (Both) Backup Demand ($/kW): Primary Voltage - $2.60 Secondary Voltage - $5.01 Transmission Voltage - $0.28 Maintenance Demand ($/kW): Primary Voltage - $2.08 Secondary Voltage - $4.01 Transmission Voltage - $0.28 Tariff (pgs. 223-227): https://www.firstenergycorp.com/content/dam/customer/Customer%20Choice/Files/PA/tariffs/FEPA-Retail-Tariff.pdf Partial Service Rider is for on-site equipment that does not qualify for the Net Metering Rider; NM Rider is found on pgs. 187-191. and is eligible for Tier I and II systems under PA's Alternative Energy Portfolio Standard (found here: https://programs.dsireusa.org/system/program/detail/262#:~:text=Eligible%20technologies,sources%20by%20May%2031%2C%202021.) | Allowed | Allowed | Yes | JLG - SHIPPENSBURG PA | Access | JLG - Shippensburg | 560 Walnut Bottom Road | Shippensburg | PA | Pennsylvania Electric Co. | 3 | 3222303.0747 | 547 | 276848.4587
J | PA | 3 MW (Non-Residential); 5 MW (Microgrids and Emergency Systems) | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually | Solar PV Requirements Charge Rider: 0.008 cents/kWh | Partial Service Rider: Admin Fee - $86.43 (Both) Backup Demand ($/kW): Primary Voltage - $2.60 Secondary Voltage - $5.01 Transmission Voltage - $0.28 Maintenance Demand ($/kW): Primary Voltage - $2.08 Secondary Voltage - $4.01 Transmission Voltage - $0.28 Tariff (pgs. 223-227): https://www.firstenergycorp.com/content/dam/customer/Customer%20Choice/Files/PA/tariffs/FEPA-Retail-Tariff.pdf Partial Service Rider is for on-site equipment that does not qualify for the Net Metering Rider; NM Rider is found on pgs. 187-191. and is eligible for Tier I and II systems under PA's Alternative Energy Portfolio Standard (found here: https://programs.dsireusa.org/system/program/detail/262#:~:text=Eligible%20technologies,sources%20by%20May%2031%2C%202021.) | Allowed | Allowed | Yes | JLG - BEDFORD PA WEBER LANE | Access | JLG - Weber Lane | 441 Weber Lane | Bedford | PA | Pennsylvania Electric Co. | 3 | 3069120.3074 | 700 | 291462.0659
J | PA | 3 MW (Non-Residential); 5 MW (Microgrids and Emergency Systems) | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually | Solar PV Requirements Charge Rider: 0.006 cents/kWh | Partial Service Rider: Admin Fee - $86.43 (Both) Backup Demand ($/kW): Primary Voltage - $0.44 Secondary Voltage - $2.99 Transmission Voltage - $0.08 Maintenance Demand ($/kW): Primary Voltage - $0.37 Secondary Voltage - $2.39 Transmission Voltage - $0.08 Tariff (pgs. 223-227): https://www.firstenergycorp.com/content/dam/customer/Customer%20Choice/Files/PA/tariffs/FEPA-Retail-Tariff.pdf Partial Service Rider is for on-site equipment that does not qualify for the Net Metering Rider; NM Rider is found on pgs. 187-191. and is eligible for Tier I and II systems under PA's Alternative Energy Portfolio Standard (found here: https://programs.dsireusa.org/system/program/detail/262#:~:text=Eligible%20technologies,sources%20by%20May%2031%2C%202021.) | Allowed | Allowed | Yes | JLG - GREENCASTLE PA HYKES ROAD | Access | JLG - Hykes Road | 1080 Hykes Road | Greencastle | PA | West Penn Power Company | 3 | 2851912.069 | 656 | 242384.9408
J | PA | 3 MW (Non-Residential); 5 MW (Microgrids and Emergency Systems) | Retail Rate | Net excess generation is credited to next bill, and the excess is reconciled annually | Solar PV Requirements Charge Rider: 0.006 cents/kWh | Partial Service Rider: Admin Fee - $86.43 (Both) Backup Demand ($/kW): Primary Voltage - $0.44 Secondary Voltage - $2.99 Transmission Voltage - $0.08 Maintenance Demand ($/kW): Primary Voltage - $0.37 Secondary Voltage - $2.39 Transmission Voltage - $0.08 Tariff (pgs. 223-227): https://www.firstenergycorp.com/content/dam/customer/Customer%20Choice/Files/PA/tariffs/FEPA-Retail-Tariff.pdf Partial Service Rider is for on-site equipment that does not qualify for the Net Metering Rider; NM Rider is found on pgs. 187-191. and is eligible for Tier I and II systems under PA's Alternative Energy Portfolio Standard (found here: https://programs.dsireusa.org/system/program/detail/262#:~:text=Eligible%20technologies,sources%20by%20May%2031%2C%202021.) | Allowed | Allowed | Yes | JLG - BEDFORD PA SUNNYSIDE RD | Access | JLG - Sunnyside | 450 Sunnyside Road | Bedford | PA | West Penn Power Company | 2 | 1992444.5152 | 419 | 187020.2458
B | SC | 1 MW or 100% of the customer's contract demand, whichever is less | Monthly NEG Credited at Avoided Cost Rate | Monthly | N/A | Duke Energy Carolinas Large General Service Tariff does not specify any standby fees. https://www.duke-energy.com/-/media/pdfs/for-your-home/rates/electric-sc/scschedulelgs.pdf?rev=4a21f7fca094402fa85af8d647d1b2c4 Duke's Net Metering Tariff (Nonresidential Solar Choice) is capped at 1 MW, and does not include standby fees: https://www.duke-energy.com/-/media/pdfs/for-your-home/rates/electric-sc/scridernsc.pdf?rev=2619589a95dd48abbbb1bfe384aa8481 Larger systems up to 80 MW can interconnect via Duke's Parallel Generation Tariff, which does include Standby Charges of $1.8094/kW https://www.duke-energy.com/-/media/pdfs/for-your-home/rates/electric-sc/scschedulepg.pdf?rev=f60317c157774de8bd4665cfe1bb0e47 | Not allowed, except for leasing | Allowed | Yes | DEF - SPARTANBURG | Defense | Spartanburg - NGDV Faciltiy | 789 Flatwood Ind Dr | Spartanburg | SC |  | 3 | 6672237.6618 | 3555.6 | 781639.9387 | Facility still in ramp up phase. Electric and gas usage will increase significantly in 24-25
J | TN | No statewide cap; TVA does operate the Dispersed Power Production (DPP) Program allowing companies to sell all or any excess generation back to TVA. DPP: https://www.tva.com/energy/valley-renewable-energy/dispersed-power-production-program | Avoided Cost Rate (TVA DPP) | Monthly (TVA DPP) | N/A | TVA Standby Power Rate - Schedule SP: $725/month Tariff (pg. 20): https://tva-azr-eastus-cdn-ep-tvawcm-prd.azureedge.net/cdn-tvawcma/docs/default-source/energy/valley-renewable-energy/dispersed-power-program/dispersed-power-production-guidelines-march.pdf?sfvrsn=98f8858_1 | Not Allowed | Not Allowed | None; check TVA DPP guidelines for more information. Guideline: https://tva-azr-eastus-cdn-ep-tvawcm-prd.azureedge.net/cdn-tvawcma/docs/default-source/energy/valley-renewable-energy/dispersed-power-program/dispersed-power-production-guidelines-march.pdf?sfvrsn=98f8858_1 | DEF - JEFFERSON CITY | Access | Jefferson City | 1400 Flat Gap Road | Jefferson City | TN | Appalachian Electric Cooperative/TVA | 2-3 | 11848853.3333 |  | 842228.7397 | Facility is currently moving from Defense facility that primarily did fabrication of cabs and parts to Access facility that will manufacture telehandlers. Facility is air conditioned - electrical consumption nearly doubled when AC was installed.
J | TN | No statewide cap; TVA does operate the Dispersed Power Production (DPP) Program allowing companies to sell all or any excess generation back to TVA. DPP: https://www.tva.com/energy/valley-renewable-energy/dispersed-power-production-program | Avoided Cost Rate (TVA DPP) | Monthly (TVA DPP) | N/A | TVA Standby Power Rate - Schedule SP: $725/month Tariff (pg. 20): https://tva-azr-eastus-cdn-ep-tvawcm-prd.azureedge.net/cdn-tvawcma/docs/default-source/energy/valley-renewable-energy/dispersed-power-program/dispersed-power-production-guidelines-march.pdf?sfvrsn=98f8858_1 | Not Allowed | Not Allowed | None; check TVA DPP guidelines for more information. Guideline: https://tva-azr-eastus-cdn-ep-tvawcm-prd.azureedge.net/cdn-tvawcma/docs/default-source/energy/valley-renewable-energy/dispersed-power-program/dispersed-power-production-guidelines-march.pdf?sfvrsn=98f8858_1 | MTM – MURFREESBORO TN | Vocational | Murfreesboro | 2120 Logistics Way | Murfreesboro | TN | Middle Tennessee EMC/TVA | NA | 559000 | 396 | 78014.87 | Facility is being developed and is not producing any product yet. Utility data is for facility not operating as manufacturing location. Electricity is Mar-Dec 23
B | UT | 2 MW | June-September: $0.05636/kWh October-May: $0.04745/kWh | Instantaneous | N/A | Rocky Mountain Power does not appear to charge standby rates |  |  | Yes, Net Billing | NA | Vocational | Aerotech - Jetway Systems | 3100 Pennsylvania Avenue | Ogden | UT |  | 2 | 3815485.79 | Not Available | 320641.79 | 2022 Data; Propane: 1,190 MMBTU, $26,988
B | WI | We Energies: Net Metering Tariff (CGS-NM): 299 kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=262 | Avoided Cost Rate | Monthly | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | PMI - ASY AMERICAN DRIVE | Vocational | Pierce -Assembly | 2600 American Dr | Appleton | WI |  | 2-3 | 11428742.6 | 2154 | 1234444.6 | Existing solar on roof of new building (portion of 115,000 sqr ft bldg)
B | WI | We Energies: Customer Use Tariff (CGS-CU): 1 MW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=269 | Avoided Cost Rate | Instantaneous | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | PMI - ASY AMERICAN DRIVE | Vocational | Pierce -Assembly | 2600 American Dr | Appleton | WI |  | 2-3 | 11428742.6 | 2154 | 1234444.6 | Existing solar on roof of new building (portion of 115,000 sqr ft bldg)
B | WI | We Energies: Net Metering Tariff (CGS-NM): 299 kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=262 | Avoided Cost Rate | Monthly | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | PMI - IPP MCCARTHY ROAD | Vocational | Piere - Industrial Park Plant | 3100 N McCarthy Rd | Appleton | WI |  | 2-3 | 6277299.69 | 2334 | 733657.91
B | WI | We Energies: Customer Use Tariff (CGS-CU): 1 MW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=269 | Avoided Cost Rate | Instantaneous | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | PMI - IPP MCCARTHY ROAD | Vocational | Piere - Industrial Park Plant | 3100 N McCarthy Rd | Appleton | WI |  | 2-3 | 6277299.69 | 2334 | 733657.91
B | WI | Wisconsin Public Service Co: Parallel Generation - Purchase by WPSC (PG-2A): 5 MW https://www.wisconsinpublicservice.com/company/wi_tariffs/PG-2A.pdf | Avoided Cost Rate | Instantaneous | N/A | Standby Service: Secondary: $3.50/kW Primary: $2.75/kW Transmission: $2.00/kW https://www.wisconsinpublicservice.com/company/wi_tariffs/CP_Rules.pdf | No | No | Yes, exact rules vary by utility | DEF - SOUTH PLANT/ECOAT | Defense | Defense - South Plant/ECoat | 333 W 29th Ave | Oshkosh | WI |  | 2-3 | 11025473.6663 | 2140 | 926157.1195 | Site Shared with West Plant
B | WI | Wisconsin Public Service Co: Parallel Generation - Purchase by WPSC (PG-2A): 5 MW https://www.wisconsinpublicservice.com/company/wi_tariffs/PG-2A.pdf | Avoided Cost Rate | Instantaneous | N/A | Standby Service: Secondary: $3.50/kW Primary: $2.75/kW Transmission: $2.00/kW https://www.wisconsinpublicservice.com/company/wi_tariffs/CP_Rules.pdf | No | No | Yes, exact rules vary by utility | DEF - NORTH PLANT | Defense | Defense - North Plant | 2307 Oregon St | Oshkosh | WI |  | 2-3 | 4934117 | 1236 | 522428.2992
B | WI | Wisconsin Public Service Co: Parallel Generation - Purchase by WPSC (PG-2A): 5 MW https://www.wisconsinpublicservice.com/company/wi_tariffs/PG-2A.pdf | Avoided Cost Rate | Instantaneous | N/A | Standby Service: Secondary: $3.50/kW Primary: $2.75/kW Transmission: $2.00/kW https://www.wisconsinpublicservice.com/company/wi_tariffs/CP_Rules.pdf | No | No | Yes, exact rules vary by utility | DEF - HARRISON STREET | Defense | Defense - Harrison | 2737 Harrison Street | Oshkosh | WI |  | 2-3 | 3879818.3398 | 1229 | 385419.4059
B | WI | Wisconsin Public Service Co: Parallel Generation - Purchase by WPSC (PG-2A): 5 MW https://www.wisconsinpublicservice.com/company/wi_tariffs/PG-2A.pdf | Avoided Cost Rate | Instantaneous | N/A | Standby Service: Secondary: $3.50/kW Primary: $2.75/kW Transmission: $2.00/kW https://www.wisconsinpublicservice.com/company/wi_tariffs/CP_Rules.pdf | No | No | Yes, exact rules vary by utility | KFI - KEWAUNEE FABRICATIONS | Vocational | Kewaunee Fabrications | 520 N Main St | Kewaunee | WI |  | 2 | 3144499.9624 | 1692 | 359264.5255
B | WI | We Energies: Net Metering Tariff (CGS-NM): 299 kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=262 | Avoided Cost Rate | Monthly | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | OSK -MENASHA DATA CENTER | Corporate | Menasha Data Center | 1425 University Drive | Menasha | WI |  | NA | 2412555.8387 | 503 | 200817.9148
B | WI | We Energies: Customer Use Tariff (CGS-CU): 1 MW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=269 | Avoided Cost Rate | Instantaneous | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | OSK -MENASHA DATA CENTER | Corporate | Menasha Data Center | 1425 University Drive | Menasha | WI |  | NA | 2412555.8387 | 503 | 200817.9148
B | WI | Wisconsin Public Service Co: Parallel Generation - Purchase by WPSC (PG-2A): 5 MW https://www.wisconsinpublicservice.com/company/wi_tariffs/PG-2A.pdf | Avoided Cost Rate | Instantaneous | N/A | Standby Service: Secondary: $3.50/kW Primary: $2.75/kW Transmission: $2.00/kW https://www.wisconsinpublicservice.com/company/wi_tariffs/CP_Rules.pdf | No | No | Yes, exact rules vary by utility | OSK - GHQ | Corporate | Global Headquarters | 1917 4-Wheel Drive | Oshkosh | WI |  | NA | 2172835.0909 | 623 | 231136.51
B | WI | Wisconsin Public Service Co: Parallel Generation - Purchase by WPSC (PG-2A): 5 MW https://www.wisconsinpublicservice.com/company/wi_tariffs/PG-2A.pdf | Avoided Cost Rate | Instantaneous | N/A | Standby Service: Secondary: $3.50/kW Primary: $2.75/kW Transmission: $2.00/kW https://www.wisconsinpublicservice.com/company/wi_tariffs/CP_Rules.pdf | No | No | Yes, exact rules vary by utility | DEF - WEST PLANT | Defense | Defense - West Plant | 500 W Waukau Ave | Oshkosh | WI |  | 2-3 | 2132806.0534 | 568 | 227279.1988 | Site shared with South/ECoat
B | WI | Wisconsin Public Service Co: Parallel Generation - Purchase by WPSC (PG-2A): 5 MW https://www.wisconsinpublicservice.com/company/wi_tariffs/PG-2A.pdf | Avoided Cost Rate | Instantaneous | N/A | Standby Service: Secondary: $3.50/kW Primary: $2.75/kW Transmission: $2.00/kW https://www.wisconsinpublicservice.com/company/wi_tariffs/CP_Rules.pdf | No | No | Yes, exact rules vary by utility | OSK - OSHKOSH DATA CENTER | Corporate | Oshkosh Data Center | 2948 Bradley Street | Oshkosh | WI |  | NA | 1722688.4441 | 238 | 153533.0034
B | WI | We Energies: Net Metering Tariff (CGS-NM): 299 kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=262 | Avoided Cost Rate | Monthly | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | PMI - NEENAH WI | Vocational | Pierce - Neenah | 1515 Cty Rd. O | Neenah | WI |  | 2-3 | 1436221.7472 | 746 | 205359.5582
B | WI | We Energies: Customer Use Tariff (CGS-CU): 1 MW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=269 | Avoided Cost Rate | Instantaneous | N/A | General Primary Service - Standby: Reserved Demand: $1.939 - $1.993/kW https://www.we-energies.com/pdfs/etariffs/wisconsin/elecrateswi.pdf#page=150 | No | No | Yes, exact rules vary by utility | PMI - NEENAH WI | Vocational | Pierce - Neenah | 1515 Cty Rd. O | Neenah | WI |  | 2-3 | 1436221.7472 | 746 | 205359.5582